## Sheet1
厂家 | 大类 | 该事件对业务的影响
|  | 业务受影响 |  | 业务质量下降
|  | 告警标准名 | 告警标题 | 告警标准名 | 告警标题
华为 | IR接口 | BBU CPRI光模块/电接口不在位告警
BBU CPRI光接口性能恶化告警
BBU CPRI接口异常告警
BBU CPRI线速率协商异常告警
BBU IR光模块收发异常告警
BBU IR光接口性能恶化告警
BBU IR接口异常告警
BBU IR线速率协商异常告警
射频单元光模块收发异常告警
射频单元CPRI接口异常告警
射频单元光接口性能恶化告警
射频单元IR接口异常告警
RHUB光模块收发异常告警
RHUB CPRI接口异常告警
RHUB光接口性能恶化告警
RHUB与pRRU间链路异常告警
射频单元运行时拓扑异常告警
| license | 系统超出License容量限制告警
License Feature进入保活期告警
License Feature不可用告警
License试运行告警
系统无License运行告警
配置数据超出License限制告警
License超限使用告警
802.1X认证失败告警
对端证书过期告警
证书即将过期告警
证书失效告警
证书自动更新失败告警
| 传输 | E1/T1信号丢失告警
E1/T1告警指示信号告警
E1/T1远端告警指示告警
E1/T1帧失步告警
E1/T1复帧失步告警
E1/T1滑帧超限告警
E1/T1误码超限告警
E1/T1环回告警
以太网端口广播报文超限告警
以太网链路故障告警
MAC错帧超限告警
ETHOAM 3AH远端故障告警
IP Path故障告警
以太网TRUNK链路故障告警
SCTP链路故障告警
SCTP链路拥塞告警
ETHOAM 3AH远端环回告警
以太网TRUNK组故障告警
IP远端环回告警
IP错帧超限告警
IP Path丢包超限告警
BFD检测链路故障告警
IP PM激活失败告警
远程维护通道故障告警
远程维护通道配置与运行数据不一致告警
IP链路性能测量故障告警
IPv6地址冲突告警
用户面承载链路故障告警
用户面故障告警
SCTP链路目的地址不可达告警
用户面承载链路丢包超限告警
BBU单板维护链路异常告警
传输光模块不在位告警
传输光接口异常告警
传输光接口性能恶化告警
BBU光模块收发异常告警
射频单元维护链路异常告警
BBU互联光模块接收异常告警
BBU互联光接口发送异常告警
射频单元备电设备维护链路异常告警
射频单元外部设备维护链路异常告警
S1接口故障告警
X2接口故障告警
Xw接口故障告警
网元遭受攻击告警
广播报文超限告警
网元间地址冲突告警
RHUB AC/DC维护链路异常告警
基站S1控制面传输中断告警
eMBMS会话M1接口丢包告警
中继远程节点接收信号质量差告警
| 动力 | 监控设备供电输入异常告警
直流输出异常告警
市电输入异常告警
次要负载下电告警
蓄电池停止供电告警
蓄电池电流异常告警
负载熔丝断告警
电池不在位告警
电池故障告警
电源冗余不足告警
电池配置不一致告警
油机故障告警
油机燃料不足告警
油机启动失败告警
太阳能子阵丢失告警
太阳能子阵故障告警
太阳能控制器温度异常告警
单板输入电压异常告警
基站直流供电异常告警
PSE供电异常告警
射频单元ALD电流异常告警
射频单元交流掉电告警
射频单元输入电源能力不足告警
射频单元直流掉电告警
RHUB交流掉电告警
主电告警
整流模块告警
| 负荷 | 单板过载告警
射频单元过载告警
中继远程节点过载告警
RHUB过载告警
小区服务能力下降告警
| 核心网 | 域名解析失败告警
| 环境 | 环境湿度异常告警
环境温度异常告警
TEC空调告警
监控设备维护链路异常告警
监控设备硬件故障告警
传感器失效告警
水浸告警
烟雾告警
防盗告警
机柜温度异常告警
蓄电池温度异常告警
机柜出风口温度异常告警
机柜进风口温度异常告警
单板温度异常告警
射频单元温度异常告警
RHUB温度异常告警
中继远程节点温度异常告警
机柜湿度异常告警
| 其他 | 本地用户连续登录尝试失败告警
小区模拟负载启动告警
| 软件 | 单板软件运行异常告警
单板文件系统损坏告警
配置文件损坏告警
主区版本不可用告警
单板软件自动增补失败告警
单板软件同步失败告警
版本自动回退告警
射频单元软件运行异常告警
RHUB软件运行异常告警
中继远程节点版本异常告警
| 时钟 | 基站同步帧号异常告警
单板时钟输入异常告警
星卡时钟输出异常告警
星卡天线故障告警
星卡锁星不足告警
星卡维护链路异常告警
系统时钟不可用告警
未配置时钟参考源告警
时钟参考源异常告警
IP时钟链路异常告警
系统时钟失锁告警
时间同步失败告警
TOD时钟异常告警
射频单元时钟异常告警
RHUB时钟异常告警
基站时钟失步告警
| 数据配置 | IP地址冲突告警
BBU互联光模块不在位告警
BBU互联端口异常告警
BBU互联端口连线错误告警
BBU IR光模块/电接口不在位告警
射频单元光模块/电接口不在位告警
射频单元光模块类型不匹配告警
RHUB光模块/电接口不在位告警
RHUB光模块类型不匹配告警
设备对象配置冲突告警
单板不在位告警
单板闭塞告警
RRU组网级数与配置不一致告警
RRU组网断点告警
RRU组网拓扑类型与配置不一致告警
BBU组网拓扑与配置不一致告警
配置数据不一致告警
配置异常告警
单板类型和配置不匹配告警
制式间监控设备参数配置冲突告警
制式间射频单元参数配置冲突告警
制式间BBU单板参数配置冲突告警
制式间单板对象配置冲突告警
制式间机柜配置冲突告警
制式间站点级配置冲突告警
制式间控制权冲突告警
射频单元工作模式与单板能力不匹配告警
制式间单板安装与配置不匹配告警
制式间RRU链环参数配置冲突告警
机框类型配置与实际不一致告警
分离主控制式冲突告警
射频单元ALD开关配置不匹配告警
射频单元发射通道手动关闭告警
AAS单板不在位告警
SO接口配置更新失败告警
小区重配置失败告警
小区闭塞告警
小区PCI冲突告警
中继远程节点不可用告警
中继远程节点设备类型和配置不匹配告警
| 天馈 | 射频单元接收通道RTWP/RSSI过低告警
小区接收通道干扰噪声功率不平衡告警
射频单元驻波告警
天线设备维护链路异常告警
射频单元与电调天线连接异常告警
电调天线马达故障告警
天线设备硬件故障告警
电调天线未校准告警
电调天线数据丢失告警
塔放旁路告警
电调天线运行数据异常告警
塔放运行数据异常告警
| 退服 | 小区不可用告警
eNodeB退服告警
网元连接中断
| 硬件板卡 | 传输光模块故障告警
BBU CPRI光模块故障告警
制式间通信异常告警
BBU互联光模块故障告警
BBU IR光模块故障告警
射频单元光模块故障告警
RHUB光模块故障告警
电源模块异常告警
交流避雷器故障告警
电源模块与监控模块通信异常告警
PMU内部接口通信故障告警
加热器硬件故障告警
风扇堵转告警
板间CANBUS通信异常告警
BBU风扇堵转告警
BBU风扇无法全速运转告警
BBU直流输出异常告警
单板硬件故障告警
主控板插错槽位告警
单板下电告警
板间业务链路异常告警
单板未插紧告警
单板无法识别告警
射频单元发射通道增益异常告警
射频单元功放过流告警
射频单元输入功率异常告警
射频单元硬件故障告警
射频单元电源防雷器故障告警
射频单元风扇故障告警
AAS硬件故障告警
RHUB硬件故障告警
RHUB PSE供电故障告警
RHUB风扇故障告警
近端接入维护设备异常告警
M2接口故障告警
SO接口故障告警
射频单元业务不可用告警
中继远程节点硬件故障告警
中继远程节点以太网链路故障告警
中兴 | IR接口 | BBU光口解码错误
IQ链路输入失锁
IQ上报失败
RRU光口解码错误
RRU光纤时延超限
RRU接收光口光
RRU接收光口帧失锁
RRU物理层链路断
SRIO通讯异常
光口接收链路恶化
光口接收链路故障
光口接收帧失锁
光口配置告警
光口未接收到光信号
光模块传输距离不匹配
光模块故障
光模块接收光功率异常
光模块速率不匹配
光纤接错告警
| license | CRL文件即将过期
CRL文件已过期
License文件即将到期
可选功能不可用
配置数据超出License限制
配置数据和License授权不匹配
授权量即将超限
系统无可用License文件
运营商证书获取失败
运营商证书即将过期
运营商证书已过期
| OMC | 性能门限越界
性能数据入库延迟
自定义性能门限告警
自定义性能门限告警
| 传输 | 802.1x认证失败
AIS告警
BFD连接断
CCM错误信息
CCM交叉检测
CCM远端错误
E1/T1链路断
E1/T1链路误码率高
E1/T1自环
EFM链路断链
HDLC链路断链
IMA/TC链路故障
IMA组故障
IPSec链路异常
LCK告警
MME偶联全断
MME偶联全断
PPP链路断链
PPP链路环回
S1断链告警
S1断链告警
S1断链统计通知
S1用户面路径不可用
S1用户面路径不可用
S1用户面路径状态更新通知
SCTP流数目不一致
SCTP路径断开
SCTP偶联断
SSCOP信令链路连接断
STM-1 AU4指针丢失（LOP）
STM-1复用段告警指示（MSAIS）
STM-1光信号丢失（LOS）
STM-1帧同步丢失（LOF）
TCP连接断
UCI光口光模块光
UCI光纤时延测量失败
UCI接收光口帧失锁
UES网口半双工告警
X2断链告警
X2断链告警
X2链路状态更新通知
X2用户面路径不可用
X2用户面路径不可用
X2用户面路径状态更新通知
承载S1/X2 光纤链路断开异常
对端服务器不可达
基站与iCS链路断
认证失败
输入帧同步信号异常
下一跳IP地址不可达
以太网带宽不足
以太网电口对端链路模式不匹配
以太网端口工作模式不匹配
以太网接入网口告警
以太网物理连接断
以太网远端故障指示(RDI)告警
中继线输出端不可用
中继线输入端不可用
| 动力 | LNA告警
MP(管理电源)电压异常
MP(管理电源)过流
POE供电异常
PP(工作电源)电压异常
PP(工作电源)过流
PSU告警
PWR监控单元告警
传输后备电电池保护和负载下电告警
传输后备电整流模块告警
传输后备电直流过欠压告警
单板电源关断
电池低压告警
干接点外接设备故障
基站主电源断告警
交流停电告警
设备掉电
输入电压异常
用户自定义干接点告警1
用户自定义干接点告警10
用户自定义干接点告警11
用户自定义干接点告警12
用户自定义干接点告警16
用户自定义干接点告警2
用户自定义干接点告警3
用户自定义干接点告警4
用户自定义干接点告警5
用户自定义干接点告警6
用户自定义干接点告警7
用户自定义干接点告警8
用户自定义干接点告警9
远端电源输出电压异常告警
远端电源输入欠压告警
整流模块告警
主用电源故障告警
主用电源输入断电告警
主用电源输入过压告警
主用电源输入欠压告警
主用电源一般故障告警
| 负荷 | CPU过载告警
CPU过载严重告警
电子盘可用空间不足
资源使用率过高
| 环境 | RRU板卡过温
RRU单板轻微过温告警
RRU电源温度异常
出风口温度异常
单板高温下电告警
单板过温保护下电
单板轻微过温告警
单板温度异常告警
单板严重过温告警
功放过温度告警
红外告警
进风口温度异常
空调故障
热电制冷告警
设备门禁告警
设备门禁告警
水淹告警
温度传感器异常
温度异常
温度异常
蓄电池告警
烟雾告警
| 软件 | IR切换失败
MMC运行软件版本不存在
MRO故障告警
Msg3检测异常告警
RRU软件版本异常
版本包故障
版本包修复失败
版本仓库文件异常
版本回退
产品进程异常
初始化失败
单板软件故障
定标失败
规格包中软件异常
基带单元处于初始化状态
热补丁故障
软件加载失败
软件运行异常
运行软件版本不存在
找不到单板软件标识
主控软件版本同步失败
| 时钟 | 1588时钟链路异常
1588时钟源不可用
1588时钟源异常
1PPS+TOD备用源故障告警
1PPS+TOD时钟源异常
1PPS+TOD源故障告警
BBU框间帧同步失败
GNSS级联时钟故障
GNSS接收机故障
GNSS接收机搜星故障
GNSS天馈链路故障
PLL失锁告警
RRU光纤恢复时钟异常
RRU内部时钟失锁
RRU内置GNSS时钟参考源不可用
RRU内置GNSS时钟参考源链路告警
RRU内置GNSS时钟源异常
SNTP对时失败
SyncE时钟不可用（SyncE+1588）
SyncE时钟异常
从框时钟同步丢失
单板逻辑锁相环失锁
单板输入时钟异常
当前激活参考源1PPS丢失
堆叠时钟线连接异常
堆叠时钟源异常
基站同步异常
没有可用的空口时钟源
没有可用的空口时钟源
内部时钟异常
内置GNSS接收机告警
内置GNSS接收机搜星告警
内置GNSS天馈链路告警
时钟参考源配置错误
时钟模块硬件故障
时钟锁相环失锁
时钟源之间的相位差过大
输入参考时钟异常
锁相环参考时钟丢失告警
同步丢失
外置背板GNSS接收机告警
外置背板GNSS接收机前后台工作模式不一致告警
外置背板GNSS接收机搜星告警
外置背板GNSS天馈链路告警
外置面板GNSS接收机告警
外置面板GNSS接收机前后台工作模式不一致告警
外置面板GNSS接收机搜星告警
外置面板GNSS天馈链路告警
相邻基站不同步
| 数据配置 | BOOT软件升级失败
LMT接入
LN In-band/Guard-band动态交互参数配置错误
POE供电被人工关断
RRU实接类型和配置类型不一致
RRU数据压缩配置错误
RRU外接设备配置参数与实际参数不一致
RRU未配置
RRU帧头偏移配置失败
TD-SCDMA天线权值缺失
UCI光口光模块不在位
版本和配置数据不匹配
参数配置错误
参数配置错误
参数配置错误
操作数据库失败
操作维护通道配置错误
操作维护通道配置错误
单板不在位
单板配置参数错误
单板未配置
单板智能下电
电源模块不在位
风扇模块不在位
风扇调速策略不存在
负载功率过载
供电配置失败
光模块不在位
基带板配置错误
基站上联传输口实际模式与配置模式不一致
配置数据加载异常
同一扇区下的两个RRU的时延值相差过大
网元不支持配置的参数
小区PCI冲突告警
小区PCI混淆告警
小区参数配置失败告警
小区参数配置失败告警
小区关断告警
小区关断告警
小区睡眠告警
小区协同参数配置异常
小区协同参数配置异常
小区重配失败
信道下行帧失锁
性能门限越界
性能统计规则库未加载或加载失败
性能统计规则库未加载或加载失败
异厂商PCI冲突告警
异厂商PCI混淆告警
硬件类型和配置不一致
帧频帧号丢失
主备同步失败
资源被人工闭塞
自定义性能门限告警
| 天馈 | AISG设备参数异常
CAL(校准)口线缆接错
PA去使能
RET电机不能调整
RET电机故障
RET电机没有响应调整命令
RET数据存储失败
RET通讯链路断
RET校准失败
RET硬件故障
RRU功率检测异常
RX通道异常
TX通道基带输入信号异常
TX通道输出功率异常
反向链路RSSI低告警
反向链路RSSI高轻微告警
反向链路RSSI高严重告警
基带数据链路检测异常
射频馈入信号异常
射频通道衰减一致性异常
天馈过驻波比告警
天馈驻波比异常
天线通道幅相一致性告警
天线通道失效告警
天线校正失败
天线校正失败
天线校正失败
天线校正通道或校正线缆故障
外部扩展设备故障
无线干扰检测异常
下行BM空口链路信号恶化
下行通道故障告警
智能天线校准异常
| 退服 | [衍生告警]同一时间点同一维护区域批量退服关联派单派生告警
LTE小区退出服务
LTE小区退出服务
NB-IoT小区退出服务
Pico RRU未接入
超级小区CP退出服务
辅小区退出服务
基站退出服务
基站退出服务
基站退出服务
网元断链告警
小区建立失败
小区睡眠告警
小区性能下降告警
| 硬件板卡 | DPD运行状态异常
EPLD寄存器读写失败告警
FCE风扇故障
MMC故障
NB Proxy心跳丢失通知
PB链路断
PSU风扇告警
RBM链路断
RRU本振失锁告警
RRU离线参数校验失败
RRU链路断
RRU上电自检失败
RRU设备告警
RRU与外置LNA之间链路断
单板BSP初始化失败
单板FPGA读写错误
单板处于初始化状态
单板间数据链路异常
单板通讯链路断
单板通讯链路断
单板硬件故障
单板状态不可用
电源模块故障
堆叠框间以太网连接断
防雷器告警
风扇故障
风扇故障
风扇降速运行
功放通讯故障
光模块不可用
基带处理单元定时同步故障
基带处理单元通信故障
基带处理单元芯片故障
基带处理单元帧同步故障
基带处理单元状态异常
基带子单元故障
接收射频通道故障
内部故障
室内防雷箱的断路器告警
室内防雷箱的防雷器告警
室外防雷箱告警
下行基带功率过低或过高
主从监控链路告警
诺基亚 | IR接口 | BASE STATION NOTIFICATION,Abnormal CPRI interface to next hop <OptIf ID>
BASE STATION NOTIFICATION,FZAP Not Connected Successfully
BASE STATION NOTIFICATION,Compensation buffer is not enough for RF module delay difference
CELL FAULTY,Abnormal reception on SFP to upper hop optIf ID
CELL FAULTY,Abnormal reception on SFP to next hop optIf ID
CELL FAULTY,Abnormal CPRI interface to next hop optIf ID
CELL FAULTY,Parallel RP3-01 link length mismatch
CELL OPERATION DEGRADED,Abnormal CPRI interface to upper hop optIf ID
CELL OPERATION DEGRADED,Abnormal reception on SFP to next hop optIf ID
CELL OPERATION DEGRADED,Abnormal CPRI interface to next hop optIf ID
CELL OPERATION DEGRADED,10b8b coding error in Optical Interface device <opt link/RP3>
CELL OPERATION DEGRADED,Receiving failure in Optical Interface
LOS on unit $U, [Ethernet] interface $IF
BASE STATION NOTIFICATION,Abnormal CPRI interface to next hop <OptIf ID>
BASE STATION NOTIFICATION,Communication failure
BASE STATION NOTIFICATION,Receiving failure in Optical Interface
BASE STATION NOTIFICATION,10b8b coding error in optical interface device <opt link/RP3>
BASE STATION NOTIFICATION,Parallel RP3-01 link length mismatch
CELL OPERATION DEGRADED,Parallel RP3-01 link length mismatch
BASE STATION NOTIFICATION,Increased BER detected on the optical connection to Radio Module
CELL OPERATION DEGRADED,Increased BER detected on the optical connection to Radio Module
BASE STATION NOTIFICATION,Critical BER detected on the optical connection to Radio Module
BASE STATION FAULTY,Z1 Link Failure
CELL FAULTY,Connection Unstable At 6Gbps
CELL OPERATION DEGRADED,Connection Unstable At 6Gbps
BASE STATION NOTIFICATION,Connection Unstable At 3Gbps
BASE STATION OPERATION DEGRADED,BB bus transmission error
BASE STATION NOTIFICATION,Connection Unstable At 6Gbps
CELL FAULTY,Receiving failure in Optical Interface
CELL FAULTY,Connection Unstable At 3Gbps
BASE STATION OPERATION DEGRADED,Failure in optical interface
BASE STATION OPERATION DEGRADED,Failure in optical interface
BASE STATION NOTIFICATION,Failure in optical interface
BASE STATION NOTIFICATION,Failure in optical interface
CELL FAULTY,Failure in optical interface
CELL FAULTY,Failure in optical interface
CELL OPERATION DEGRADED,Failure in optical interface
CELL OPERATION DEGRADED,Failure in optical interface
BASE STATION FAULTY,Failure in optical interface
CELL OPERATION DEGRADED,Increased BER detected on the optical connection to Radio Module
CELL FAULTY,Failure in optical interface
BASE STATION FAULTY,Failure in optical interface
BASE STATION OPERATION DEGRADED,Failure In Optical Interface 1
CELL FAULTY,Failure In Optical Interface optIf ID
CELL OPERATION DEGRADED,Failure In Optical Interface optIf ID
BASE STATION NOTIFICATION,Failure In Optical Interface <optIf ID>
CELL FAULTY,Synchronization failure in Optical Interface <opt link/RP3 link>
BASE STATION NOTIFICATION,Synchronization failure in Optical Interface <opt link/RP3 link>
CELL OPERATION DEGRADED,Synchronization failure in Optical Interface <opt link/RP3 link>
| license | LICENSE CAPACITY NOT AVAILABLE
| OMC | BASE STATION CONNECTIVITY PROBLEM
BASE STATION CONNECTIVITY LOST
ALARMS FROM NETWORK ELEMENTS INTEGRATED TO AGENT NOT ARRIVING
ALARM BRIDGE CLIENT FAILURE IN OSS WS
Directory service is not working
Directory server replication is not working
service is not working
Database service is not working
Backup action failed
Available disk capacity is low
WAS Deployment Manager service is not working
WAS service is not working
DNS service is not working
Node is not working
NFS service is not working
File system client service is not working
Virtual machine CPU threshold exceeded
Virtual machine memory threshold exceeded
The datastore cluster disk is about to become full.
The datastore disk is about to become full
NetAct self-monitoring failed to connect to the Virtual Infrastructure Manager
LICENSED FEATURE CAPACITY/THRESHOLD LIMIT EXCEEDED
LICENSE KEY EXPIRATION
LICENSE CAPACITY NOT AVAILABLE
NETWORK ELEMENT POOL LICENSE CAPACITY OR CAPACITY THRESHOLD EXCEEDED
CENTRALIZED LICENSE SERVER COMMUNICATION FAILURE
VM Max Total Disk Latency
NE O&M CONNECTION FAILURE
Active Alarm Overflow
Disk Database Watchdog Startup Failed
Bladecenter Incompatible HardWare Configuration
Bladecenter Plug-In Unit Failure
External Storage System Failure
Switch CPU Temperature Exceeded
Power Distribution Unit Failure
Field-Replaceable Unit Unavalaible
CPU Malfunction
Current Out of Limit
Booting Failure
System Firmware Error
Power Unit Failure
MEMORY ERROR
FAN SPEED TOO LOW
CLUSTER MANAGEMENT NODE DISK OUT OF SYNC
SHELF MANAGER UNAVAILABLE
VOLTAGE OUT OF LIMIT
LICENSE MANAGER FAILED TO OBTAIN TARGET ID
ORACLE CLUSTER COMPONENT IS FAULTY
IN-MEMORY DATABASE IS ERRONEOUSLY CONFIGURED
IN-MEMORY DATABASE SERVER IS FAULTY
IN-MEMORY DATABASE DISK PARTITION PROBLEM DETECTED
BLADESYSTEM POWER ON FAILED
BLADESYSTEM POWER SUBSYSTEM OVERLOAD CONDITION
BLADESYSTEM REMOTE INSIGHT BATTERY FAILED
BLADESYSTEM REMOTE INSIGHT POWER OUTAGE
BLADESYSTEM TEMPERATURE OUT OF LIMIT
MAJOR SW UPGRADE DATA IMPORT FAILURE
No connection to BTS
System Clock Out-of-Sync with NTP Server
| 传输 | BASE STATION CONNECTIVITY LOST,Transport layer connection failure in S1 interface
BASE STATION CONNECTIVITY LOST,S1 interface setup failure
BASE STATION CONNECTIVITY DEGRADED,Transport layer connection failure in S1 interface
BASE STATION CONNECTIVITY DEGRADED,Transport layer connection failure in S1 interface
BASE STATION CONNECTIVITY DEGRADED,S1 interface setup failure
BASE STATION CONNECTIVITY DEGRADED,S1 interface setup failure
BASE STATION CONNECTIVITY DEGRADED,S1 SCTP path failure
BASE STATION CONNECTIVITY DEGRADED,S1 SCTP path failure
BASE STATION CONNECTIVITY DEGRADED,S1 SCTP path failure
| 负荷 | BASE STATION NOTIFICATION,Radio memory consumption exceeds abnormal threshold
CELL NOTIFICATION,Radio memory consumption exceeds abnormal threshold
CELL OPERATION DEGRADED,Radio memory consumption exceeds critical threshold
BASE STATION NOTIFICATION,High memory consumption
BASE STATION FAULTY,High memory consumption
BASE STATION NOTIFICATION,High memory consumption
CELL NOTIFICATION,High memory consumption
| 动环 | BASE STATION NOTIFICATION,RF Module power input faulty
BASE STATION NOTIFICATION,RRU AC power loss
CELL NOTIFICATION,RRU AC power loss
BASE STATION NOTIFICATION,DC voltage administratively disabled
CELL FAULTY,Unit (module) dangerously overheating
CELL FAULTY,Pipe dangerously overheating
CELL OPERATION DEGRADED,Pipe dangerously overheating
CELL OPERATION DEGRADED,RF Module power input faulty
CELL OPERATION DEGRADED,Unit (module) dangerously overheating
CELL NOTIFICATION,Unit (module) temperature is high
BASE STATION NOTIFICATION,RF Module power input faulty
BASE STATION NOTIFICATION,RRU AC power loss
CELL FAULTY,FSP overheating
BASE STATION NOTIFICATION,BTS power voltage rail failure
BASE STATION NOTIFICATION,EFaultId_PduLowVoltageAl
BASE STATION NOTIFICATION,EFaultId_PduOverVoltageAl
BASE STATION FAULTY,FSP overheating
CELL NOTIFICATION,RRU AC power loss
BASE STATION NOTIFICATION,BTS power voltage rail failure
CELL NOTIFICATION,RRU AC power loss
CELL NOTIFICATION,RRU AC power loss
BASE STATION OPERATION DEGRADED,Temperature alarm
BASE STATION NOTIFICATION,Temperature alarm
BASE STATION NOTIFICATION,Temperature alarm
CELL FAULTY,Temperature alarm
CELL OPERATION DEGRADED,Temperature alarm
CELL NOTIFICATION,Temperature alarm
CELL NOTIFICATION,Temperature alarm
BASE STATION FAULTY,Temperature alarm
| 核心网 | BASE STATION CONNECTIVITY DEGRADED,GTP-U path failure
BASE STATION CONNECTIVITY LOST,Transport layer connection failure in S1 interface
BASE STATION CONNECTIVITY DEGRADED,Transport layer connection failure in S1 interface
BASE STATION CONNECTIVITY DEGRADED,GTP-U path failure
| 其他 | CELL NOTIFICATION,Remote Interference eNB identity detected and own specific sequence is sending
CELL OPERATION DEGRADED,Remote Interference avoidance is active and DwPTS rollback as SSP5
CELL NOTIFICATION,EFaultId_Remote Interference eNB identity detected and own specific sequence is sending
CELL OPERATION DEGRADED,Remote Interference avoidance is active and DwPTS rollback as SSP5
| 软件 | BASE STATION NOTIFICATION,Not critical bit toggling error
BASE STATION OPERATION DEGRADED,SW fallback
BASE STATION OPERATION DEGRADED,SW fallback
BASE STATION NOTIFICATION,FR not critical functionality not supported
CELL NOTIFICATION，FR not critical functionality not supported
CELL NOTIFICATION,Correctable bit toggling error
BASE STATION NOTIFICATION,Correctable bit toggling error
BASE STATION NOTIFICATION,Correctable bit toggling error
CELL NOTIFICATION,Not critical bit toggling error
CELL NOTIFICATION,Correctable bit toggling error
BASE STATION NOTIFICATION,Correctable bit toggling error
CELL NOTIFICATION,Correctable bit toggling error
BASE STATION NOTIFICATION,# autonomous reset as recovery action
BASE STATION NOTIFICATION,# autonomous reset as recovery action
BASE STATION NOTIFICATION,# autonomous reset as recovery action
BASE STATION NOTIFICATION,# autonomous reset as recovery action
BASE STATION NOTIFICATION,# autonomous reset as recovery action
BASE STATION FAULTY,SW fallback
BASE STATION OPERATION DEGRADED,SW fallback
BASE STATION OPERATION DEGRADED,SW fallback
BASE STATION NOTIFICATION,SW fallback
CELL FAULTY,SW fallback
BASE STATION FAULTY,SW fallback
| 时钟 | Synchronization lost
BASE STATION FAULTY,Reference clock missing in startup
BASE STATION FAULTY,BTS master clock tuning failure
BASE STATION FAULTY,BTS synchronization is missing during startup
BASE STATION OPERATION DEGRADED,BTS master clock tuning failure
BASE STATION OPERATION DEGRADED,PPS reference missing
BASE STATION OPERATION DEGRADED,GPS Receiver alarm: x
BASE STATION NOTIFICATION,GPS Receiver alarm: control interface not available
BASE STATION NOTIFICATION,GPS receiver alarm: not tracking satellites
BASE STATION NOTIFICATION,GPS receiver alarm: survey in progress
BASE STATION NOTIFICATION,GPS receiver alarm: no stored position
BASE STATION NOTIFICATION,GPS receiver alarm: position questionable
BASE STATION NOTIFICATION,GPS receiver alarm: EEPROM invalid
SyncE Quality Level Degraded on unit $UID, interface $IF
BASE STATION FAULTY,Transmission clock missing
BASE STATION OPERATION DEGRADED,Transmission clock missing
BASE STATION NOTIFICATION,PPS reference missing
BASE STATION OPERATION DEGRADED,GPS receiver alarm: not tracking satellites
BASE STATION NOTIFICATION,GPS reference source indicates antenna short or overcurrent
BASE STATION OPERATION DEGRADED,ToP clock tuning failure
BASE STATION FAULTY,Synchronization holdover time expired
ToP master service $IP unusable
BASE STATION NOTIFICATION,EFaultId_GnssReceiverSignalInaccurateAl
BASE STATION FAULTY,PPS reference missing
BASE STATION OPERATION DEGRADED,BTS reference clock missing
BASE STATION OPERATION DEGRADED,BTS reference clock missing
BASE STATION NOTIFICATION,BTS reference clock missing
BASE STATION NOTIFICATION,BTS reference clock missing
BASE STATION FAULTY,BTS reference clock missing
BASE STATION NOTIFICATION,Difference between BTS master clock and reference frequency
BASE STATION NOTIFICATION,Difference between BTS master clock and reference frequency
BASE STATION NOTIFICATION,Difference between BTS master clock and reference frequency
BASE STATION TRANSMISSION ALARM,$Protocol Timing source lost on unit $U [, interface $IF]
$Protocol Timing source lost on unit $U [, interface $IF]
BASE STATION NOTIFICATION,BTS reference clock missing
BASE STATION NOTIFICATION,BTS reference clock missing
BASE STATION NOTIFICATION,BTS reference clock missing
BASE STATION NOTIFICATION,BTS reference clock missing
| 数据配置 | BASE STATION NOTIFICATION,BTS reset required
CELL NOTIFICATION,PUCCH configuration inconsistency
BASE STATION NOTIFICATION,Overload monitoring: High number of neighbor related objects
BASE STATION NOTIFICATION,AP Discovery Failure Due to Misconfiguration
BASE STATION OPERATION DEGRADED,Resource pool configuration failed
BASE STATION FAULTY,Incorrect radio network parameters
BASE STATION OPERATION DEGRADED,Transmission parameters missing
BASE STATION OPERATION DEGRADED,BTS reset required
BASE STATION OPERATION DEGRADED,BTS reset required
BASE STATION NOTIFICATION,BTS is uncommissioned
CELL FAULTY,Configuration error: x
CELL OPERATION DEGRADED,Distributed site support not enabled
CELL OPERATION DEGRADED,RF Module configuring failed
CELL NOTIFICATION,Neighbor cell ambiguity detected
The BTS booted at $date due to $Rcause
BASE STATION NOTIFICATION,BTS reset required
BASE STATION NOTIFICATION,RF Module configuration failed
BASE STATION NOTIFICATION,Maximum number of neighbor eNBs/cells exceeded
BASE STATION NOTIFICATION,Failure in connection to Real-time PM Collection Entity
CELL NOTIFICATION,PCI confusion detected
BASE STATION NOTIFICATION,FR module reset requested
CELL OPERATION DEGRADED,FR module reset requested
CELL OPERATION DEGRADED,High interference to UL subframe
BASE STATION NOTIFICATION,ALD port configuration failure
BASE STATION FAULTY,AP Configuration Failed
BASE STATION OPERATION DEGRADED,Overload detected: max number of neighbor relation objects reached
BASE STATION OPERATION DEGRADED,Overload detected: max number of neighbor relation objects reached
BASE STATION FAULTY,Configuration and hardware mismatch
BASE STATION TRANSMISSION ALARM,Bluetooth repeated authentication failure
BASE STATION NOTIFICATION,CBRS Trust anchor is about to expire or expired
BASE STATION NOTIFICATION,MFBI cell configuration conflict
CELL NOTIFICATION,Neighbor cell ambiguity detected
BASE STATION NOTIFICATION,BTS reset required
CELL NOTIFICATION,PCI confusion detected
CELL NOTIFICATION,Neighbor cell ambiguity detected
BASE STATION NOTIFICATION,Failure in trace session
BASE STATION OPERATION DEGRADED,Configuration error: x
BASE STATION NOTIFICATION,Configuration error: x
CELL FAULTY,Configuration error: x
CELL OPERATION DEGRADED,Configuration error: x
CELL NOTIFICATION,Configuration error: x
BASE STATION FAULTY,Configuration error: <x>
BASE STATION NOTIFICATION,CBRS Trust anchor is about to expire or expired
BASE STATION NOTIFICATION,Technical log buffer freezing
CELL FAULTY,Cell state audit alarm
BASE STATION NOTIFICATION,BTS power cycle detected
BASE STATION NOTIFICATION,BTS power cycle detected
Bluetooth enabled
CELL NOTIFICATION,PCI confusion detected
BASE STATION NOTIFICATION,Maximum number of neighbor eNBs/cells exceeded
BASE STATION NOTIFICATION,ALD port configuration failure
ALARM DATABASE UPLOAD FAILURE
CELL OPERATION DEGRADED,RF Module configuring failed
| 天馈 | BASE STATION NOTIFICATION,Antenna line setup failure
BASE STATION NOTIFICATION,VSWR major alarm
BASE STATION NOTIFICATION,VSWR minor alarm
BASE STATION NOTIFICATION,3GPP/AISG communication administratively disabled
BASE STATION NOTIFICATION,TX out of order
CELL FAULTY,VSWR major alarm
CELL FAULTY,TX out of order
CELL FAULTY,RX out of order
CELL FAULTY,Antenna line switched off
CELL OPERATION DEGRADED,Antenna Line failure
CELL OPERATION DEGRADED,VSWR major alarm
CELL OPERATION DEGRADED,VSWR minor alarm
CELL OPERATION DEGRADED,TX out of order
CELL OPERATION DEGRADED,RX out of order
CELL OPERATION DEGRADED,Antenna line switched off
CELL NOTIFICATION,TX failure in MIMO
CELL NOTIFICATION,TX failure in MIMO
BASE STATION NOTIFICATION,Antenna line failure
BASE STATION NOTIFICATION,Antenna line failure
BASE STATION NOTIFICATION,RX out of order
CELL FAULTY,Antenna line faulty
CELL OPERATION DEGRADED,VSWR major alarm
CELL OPERATION DEGRADED,VSWR major alarm
BASE STATION NOTIFICATION,GPS receiver alarm: position questionable
BASE STATION NOTIFICATION,GPS receiver alarm: not tracking satellites
BASE STATION NOTIFICATION,# autonomous reset as recovery action
BASE STATION NOTIFICATION,# autonomous reset as recovery action
BASE STATION NOTIFICATION,VSWR minor alarm
CELL FAULTY,VSWR minor alarm
CELL OPERATION DEGRADED,VSWR minor alarm
CELL OPERATION DEGRADED,VSWR minor alarm
CELL NOTIFICATION,VSWR minor alarm
| 退服 | CELL FAULTY,Compensation buffer is not enough for RF module delay difference
BASE STATION FAULTY,BTS reset required
BASE STATION FAULTY,Master unit has lost connection to the slave unit
BASE STATION FAULTY,SW fallback
BASE STATION FAULTY,SW fallback
BASE STATION FAULTY,Validation of signed file failed
CELL FAULTY,Communication failure
CELL FAULTY,BTS config error (Not enough HW for LCR)
CELL FAULTY,BTS config error (Not enough HW for LCR)
CELL FAULTY,RF Module configuring failed
CELL FAULTY,Frame Clock Missing
CELL FAULTY,Module Clock Faulty
CELL FAULTY,FPGA R/W error
CELL FAULTY,BB bus reception error (summing device)
CELL FAULTY,BTS reset required
CELL FAULTY,BTS reset required
CELL FAULTY,Distributed site support not enabled
CELL FAULTY,Cell power failure
CELL FAULTY,Cell reconfiguration data distribution failed
CELL FAULTY,Not able to synchronize baseband bus with <x>
CELL FAULTY,BB bus transmission error
CELL FAULTY,Master unit has lost connection to the slave unit
BASE STATION FAULTY,Eeprom read error
CELL FAULTY,Multi-carrier cell disabled
CELL FAULTY,FR module reset requested
CELL FAULTY,Cell state audit alarm
CELL FAULTY,Cell state audit alarm
BASE STATION FAULTY,Communication failure
CELL FAULTY,Cell configuration data distribution failed
BASE STATION FAULTY
| 硬件板卡 | Missing or non-compliant SFP module on unit $U, interface $I
SFP HW Failure
BASE STATION NOTIFICATION,BB bus reception error (summing device)
BASE STATION OPERATION DEGRADED,Communication failure
BASE STATION OPERATION DEGRADED,Master unit has lost connection to the slave unit
CELL FAULTY,SFP missing optIf ID
CELL FAULTY,Severe SFP performacne aggravation optIf ID
CELL FAULTY,Severe SFP reception power aggravation optIf ID
CELL FAULTY,Optical Interface faulty
CELL FAULTY,Optical Interface faulty
CELL OPERATION DEGRADED,RF BB Bus Connection Transmission Error
CELL OPERATION DEGRADED,SFP Failure optIf ID
CELL OPERATION DEGRADED,SFP missing optIf ID
CELL OPERATION DEGRADED,Severe SFP performacne aggravation optIf ID
CELL OPERATION DEGRADED,Severe SFP reception power aggravation optIf ID
CELL OPERATION DEGRADED,Mismatched RRU optical module optIf ID
CELL OPERATION DEGRADED,Module Clock Faulty
CELL OPERATION DEGRADED,Optical Interface faulty
CELL OPERATION DEGRADED,Optical Interface faulty
Missing or non-compliant SFP module on unit $U, interface $I
Transport module missing: $unit
SFP HW Failure
CELL OPERATION DEGRADED,Not able to synchronize baseband bus with <x>
BASE STATION NOTIFICATION,RF Module out of order
BASE STATION NOTIFICATION,Module Clock faulty
SFP HW Warning/Alarm on unit $U, interface $IF, cause $FC
BASE STATION NOTIFICATION,EFaultId_NoConnectionToBtsExtensionUnitAl
BASE STATION NOTIFICATION,Optical Interface faulty
BASE STATION NOTIFICATION,Fan vendor not detected
BASE STATION NOTIFICATION,Cooling fan broken
CELL OPERATION DEGRADED,RF Module failure
CELL OPERATION DEGRADED,RF Module failure
BASE STATION NOTIFICATION,# autonomous reset as recovery action
BASE STATION NOTIFICATION,# autonomous reset as recovery action
BASE STATION NOTIFICATION,# autonomous reset as recovery action
BASE STATION NOTIFICATION,# autonomous reset as recovery action
BASE STATION OPERATION DEGRADED,System Module failure
BASE STATION NOTIFICATION,System Module failure
CELL FAULTY,System Module failure
CELL OPERATION DEGRADED,System Module failure
CELL NOTIFICATION,System Module failure
BASE STATION FAULTY,System Module failure